**ADDENDUM 2**

DATE: March 20, 2015

PROJECT: UCT 17th Floor Carpet

ITB NO: 744-B1519 – UCT 17th Floor Carpet

OWNER: The University of Texas Health Science Center at Houston

TO: Prospective Proposers

This Addendum forms part of and modifies Proposal Documents dated,

March 15, 2015, with amendments and additions noted below.

 QUESTIONS AND ANSWERS:

1. Do we price to carpet up to the base board in the conference room (and board room) or do we price to take the base out, carpet then if needed replace the base board?

 DO NOT REMOVE BASE BOARD

1. What is the adhesive used to put down the current carpet and carpet squares?

UNKNOWN – TYPICAL CARPET ADHESIVE

1. What is the Backing on the current carpet?

TYPICAL CARPET BACKING

1. Do you want the cracks in the cement repaired/filled before the new carpet goes in?

YES, FLOAT FLOOR

1. Is it correct to assume that all of the files and furniture contents will be boxed before we move the furniture?

YES, FILES WILL BE EMPTIED

1. Will the file/content boxes be moved or will our crews have to move them?

FILE CABINET CONTENTS WILL REMAIN IN THE SPACE, BOXES WILL HAVE TO BE MOVED OUT OF THE WAY DURING INSTALLATION

1. Where can we stage a dumpster or dump trailer for the waste?

SINCE THIS PROJECT IS ANTICIPATED FOR WEEKENDS, THE DUMPSTER CAN BE STAGED IN LOADING DOCK ONLY DURING DAYS WORKED, CANNOT BE LEFT IN LOADING DOCK FOR NEXT PHASE

1. Can we cut the carpet near the freight elevator on 2nd floor of garage before taking it into the building?  (restricting access and traffic flow)

PROJECT IS ANTICIPATED FOR WEEKENDS – ‘TRAFFIC FLOW’ IS MINIMAL

1. Since you have specified that manufacturer in the ITB, could you provide us with a name and phone number for a contact with that manufacturer?

UT DOES NOT HAVE A DIRECT CONTACT WITH MANUFACTURER REPS, THE SPEC WAS SELECTED BY DESIGN ARCHITECT.

* BRENT HARRIS (832) 840-0685
* MATTHEW MCDONALD (281) 224-3900
* MONICA ROHLING (713) 204-7187
1. I tried to download the information from the website but it needed auto cad which I don’t have. Can you please send me just the approximate sq.yd/sq.ft?

Also can let me know who is the Designer or Architect for this project?

Unfortunately we aren’t able to provide an approximate square footage because we need bidders to view the Autocad drawings and provide a bid based on the exact information from the Autocad drawings.

The design architect was FKP.

**END OF ADDENDUM 2**